## Comparison
Peer Comparison - Nebius vs CoreWeave, IREN (AI Cloud), Oracle OCI, Nscale, Lambda, Crusoe. Template KPI IDs/definitions (peers/coreweave/crwv_kpis.xlsx 'Definitions'; K41-K45 in peers/peer_kpi_template.py). Latest available period per peer; as-of shown per cell. Nebius cells are formulas on Nebius_Inputs. Private-peer values from peers/private/private_peers_values.json (Summary) with their tags. Built 2026-10-04 ET by peers/build_comparison.py.
ID | KPI | Unit | Nebius | Tag | As of | CoreWeave | Tag | As of | IREN | Tag | As of | Oracle OCI | Tag | As of | Nscale | Tag | As of | Lambda | Tag | As of | Crusoe | Tag | As of | Peer median (formula; comparable peers) | Nebius better / worse | Reason (auto numbers + interpretation) | Nebius basis note | Peer basis comment
K01 | Revenue per active MW - period-end reported MW | $M/MW-yr | 13.2925 | E | Jun-26 | 6.8667 | Derived | Jun-26 | 7.0515 | Derived | Jun-26 | n/d | n/d |  | 3.4716 | D | 2026-06-30 | 9.7021 | D (inputs P) | 2025-06-30 | 2 | E (inputs P/R) | 2026-09-17 | 6.8667 | Better | Nebius 13.29 vs peer median 6.87 (range Crusoe 2.00 - Lambda 9.70; n=5); higher revenue density per energized MW (Nebius MW is a Capacity estimate; mixed IT/gross basis) | Q2'26 AI cloud rev x4 / Jun-26 energized MW (173, Capacity est.) | Basis differs: CRWV IT-like active MW; IREN 40 MW AI (basis unstated); Oracle no installed MW; Nscale IT MW at 5 active sites (H1'26 x2); Lambda Q2'25 (press MW); Crusoe FY26E rev / ~1 GW GROSS.
K02 | Revenue per active MW - average MW (2024 uses interpolated MW) | $M/MW-yr | 13.3504 | E | Jun-26 | 8.24 | Derived | Jun-26 | 10.4768 | Estimated | Sep-25 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 9.3584 | Better | Nebius 13.35 vs peer median 9.36 (range CoreWeave 8.24 - IREN 10.48; n=2); same on average MW - the fixed, comparable figure; Blackwell-heavy, mostly new fleet lifts density | FIXED: average MW (171.5+173)/2, replaces old 13.7 on stale YE25 170 MW
K02b | Revenue per BILLING IT MW - average MW (Capacity billing path) | $M/MW-yr | 13.0555 | E | Jun-26 | 8.24 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 8.24 | Better | Nebius billed-IT basis (Capacity) vs CoreWeave active (≈billed); other peers n/d billed MW | NEW: billed-IT twin of K02 for slide alignment with Street $/billed MW test
K03 | Revenue per contracted MW | $M/MW-yr | 0.65703 | D | Jun-26 | 2.7838 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | 0.20526 | D | 2026-08-31 | n/d | n/d |  | 0.33333 | E (inputs P/R) | 2026-09-17 | 0.33333 | Better | Nebius 0.66 vs peer median 0.33 (range Nscale 0.21 - CoreWeave 2.78; n=3); monetises contracted power faster? Nebius has far more unbuilt contracted MW than CRWV | >3.5 GW is a lower bound -> value is an upper bound
K04 | Contracted / active MW (build-out multiple) | x | 20.2312 | E | Jun-26 | 2.4667 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | 16.9136 | D | 2026-08-31 | n/d | n/d |  | 6 | D | 2026-09-17 | 6 | Context | Nebius 20.23 vs peer median 6.00 (range CoreWeave 2.47 - Nscale 16.91; n=3); build-out multiple: big growth runway but heavy execution/funding need (context, not scored)
K05 | Adj. EBITDA per active MW (average MW) | $M/MW-yr | 6.6345 | E | Jun-26 | 4.832 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | -4.9185 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | -0.043259 | Better | Nebius 6.63 vs peer median -0.04 (range Nscale -4.92 - CoreWeave 4.83; n=2); segment adj. EBITDA per MW well above CRWV-style peers | AI cloud segment adj. EBITDA
K06 | Revenue per GPU ($K per GPU-year, avg GPUs) | $K/GPU-yr | 28.7279 | E | Jun-26 | 14.5066 | Estimated | Jun-26 | 14.694 | Derived | Sep-25 | n/d | n/d |  | 11.248 | E | 2026-06-30 | 18.24 | E (inputs P/R) | 2025-06-30 | n/d | n/d |  | 14.6003 | Better | Nebius 28.73 vs peer median 14.60 (range Nscale 11.25 - Lambda 18.24; n=4); revenue per (modeled) GPU | modeled GPUs | IREN latest Q3'25. Lambda/Nscale ESTIMATED from GPU counts.
K07 | Implied blended realized price ($/GPU-hr) | $/GPU-hr | 3.2885 | E | Jun-26 | 1.6606 | Estimated | Jun-26 | 1.6637 | Derived | Sep-25 | n/d | n/d |  | 1.2947 | E | 2026-06-30 | 2.0879 | E (inputs P/R) | 2025-06-30 | n/d | n/d |  | 1.6621 | Better | Nebius 3.29 vs peer median 1.66 (range Nscale 1.29 - Lambda 2.09; n=4); realized $/GPU-hr above peers (modeled GPU base; includes non-GPU revenue) | incl. non-GPU-hour revenue | Nebius realized $3.29 includes non-GPU-hour revenue and uses modeled GPUs.
K08 | Fleet-weighted on-demand list price ($/GPU-hr) | $/GPU-hr | 5.5711 | E | Jun-26 | 9.1956 | Estimated | Jun-26 | 2 | Estimated | Sep-25 | n/d | n/d |  | n/d | n/d |  | 2.99 | R | 2025-06-16 | 3.9 | R | 2026-10-04 | 3.445 | Context | Nebius 5.57 vs peer median 3.45 (range IREN 2.00 - CoreWeave 9.20; n=4); list-price context
K09 | Implied utilization (realized $/GPU-hr / weighted list) | % | 59.0271 | E | Jun-26 | 18.0581 | Estimated | Jun-26 | 83.1861 | Estimated | Sep-25 | n/d | n/d |  | n/d | n/d |  | 69.8298 | E (inputs P/R) | 2025-06-30 | n/d | n/d |  | 43.944 | Better | Nebius 59.03 vs peer median 43.94 (range CoreWeave 18.06 - Lambda 69.83; n=2); price-based 'utilization' (mixes discount with use); not physical utilization |  | Not like-for-like (see NONCOMP list in README).; Excluded from median: IREN: vs IREN's own $2.00 assumption, not list
K10 | Cash capex per new active MW (reported MW) | $M/MW | n.m. | n.m. | Jun-26 | 12.844 | Derived | Jun-26 | n/d | n/d |  | 56.8724 | Estimated | May-26 (FQ4 FY26) | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 34.8582 | n/a | Nebius n/d. single-quarter capex/MW not meaningful for Nebius (+1.5 MW) | MW added in Q2'26 only +1.5 (Capacity est.) -> not meaningful
K12 | In-service additions per new active MW (CRWV capex definition) | $M/MW | 19.6807 | E | Dec-25 (FY25) | 18.704 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 18.704 | In line | Nebius 19.68 vs peer median 18.70 (range CoreWeave 18.70 - CoreWeave 18.70; n=1); in-service $ per MW added (FY25 basis for Nebius) | FY25 basis; quarterly n.m.
K13 | Trailing-4Q cash capex per trailing-4Q new active MW | $M/MW | 87.0453 | E | Jun-26 | 19.9666 | Derived | Jun-26 | n/d | n/d |  | 46.3858 | Estimated | May-26 (FQ4 FY26) | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 33.1762 | Worse | Nebius 87.05 vs peer median 33.18 (range CoreWeave 19.97 - Oracle OCI 46.39; n=2); capex per MW added is high because capex funds 2027 capacity (not-yet-in-use $7.8B) | capex funds future (not-yet-in-use) capacity -> inflated | Oracle FY26 capex / delivered MW (E). Nscale/Lambda/Crusoe n/d.
K14 | Net PP&E per active MW (EoP) | $M/MW | 75.4058 | E | Jun-26 | 31.1573 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | 70.7099 | D | 2026-06-30 | n/d | n/d |  | 12.5 | D | 2025-05-21 | 50.9336 | Worse | Nebius 75.41 vs peer median 50.93 (range CoreWeave 31.16 - Nscale 70.71; n=2); net PP&E per active MW inflated by construction-in-progress | incl. $7.8B not yet in use | Crusoe 12.5 = Abilene JV shell+power only (excluded from median).; Excluded from median: Crusoe: shell+power only (ex-GPU)
K15 | Gross in-service PP&E per active MW (EoP) | $M/MW | 36.4919 | E | Jun-26 | 27.136 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | 20.8259 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 23.981 | Worse | Nebius 36.49 vs peer median 23.98 (range Nscale 20.83 - CoreWeave 27.14; n=2); gross in-service PP&E per MW
K16 | Useful life - technology equipment (GPUs/servers/network) | years | 5 | R | Jun-26 | 6 | Reported | Jun-26 | 5 | Reported | Jun-26 | 6 | Reported | May-26 (FQ4 FY26) | 5.5 | R | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 5.75 | Better | Nebius 5.00 vs peer median 5.75 (range IREN 5.00 - CoreWeave 6.00; n=4); shorter life = more conservative accounting (Nebius moved 4->5 yrs in 2026; CRWV/Oracle 6) |  | Lives: CRWV 6, Oracle 6, Nscale 5-6, IREN 5, Nebius 5 (from 2026).
K17 | Depreciation yield (D&A x4 / avg in-service gross PP&E) | % | 17.515 | D | Jun-26 | 15.4657 | Derived | Jun-26 | 14.3514 | Derived | Jun-26 | 13.4492 | Derived | Aug-26 (FQ1 FY27) | 15.6709 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 14.9086 | Better | Nebius 17.52 vs peer median 14.91 (range Oracle OCI 13.45 - Nscale 15.67; n=4); higher depreciation yield = more conservative | group D&A incl. amortization | IREN incl. mining hardware; Oracle Aug-26 quarter; Nscale H1'26.
K18 | Implied average depreciable life (1 / yield) | years | 5.7094 | D | Jun-26 | 6.4659 | Derived | Jun-26 | 6.968 | Derived | Jun-26 | 7.4354 | Derived | Aug-26 (FQ1 FY27) | 6.3813 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 6.7169 | Better | Nebius 5.71 vs peer median 6.72 (range Nscale 6.38 - Oracle OCI 7.44; n=4); lower implied life = more conservative
K19 | D&A as % of revenue | % | 45.1731 | D | Jun-26 | 54.0971 | Derived | Jun-26 | 81.6775 | Derived | Jun-26 | 12.5886 | Derived | May-26 (FQ4 FY26) | 123.7553 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 67.8873 | Context | Nebius 45.17 vs peer median 67.89 (range Oracle OCI 12.59 - Nscale 123.76; n=4); D&A burden context | group D&A / AI cloud revenue
K20 | RPO (ASC 606, EoP) | $B | 37.4906 | R | Jun-26 | 103.7 | Reported | Jun-26 | 5.1 | Reported | Jun-26 | 638 | Reported | May-26 (FQ4 FY26) | 56.4 | R | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 80.05 | Context | Nebius 37.49 vs peer median 80.05 (range IREN 5.10 - Oracle OCI 638.00; n=4); absolute size context |  | Oracle RPO is company-wide incl. SaaS.
K21 | Revenue backlog (company metric, EoP) | $B | n/d | n/d |  | 104.2 | Reported | Jun-26 | 16.6 | Reported | Jun-26 | n/d | n/d |  | 103.4 | R | 2026-08-31 | n/d | n/d |  | 140 | R | 2026-09-17 | 103.4 | n/a | Nebius n/d. company backlog metric (context) | Not disclosed in Nebius filings / not computable on the same definition | Crusoe/Nscale company TCV metrics (not ASC 606).; Excluded from median: Crusoe: company TCV metric
K22 | RPO % recognized within 24 months | % | 36 | R | Jun-26 | 41 | Reported | Jun-26 | 43.1 | Derived | Jun-26 | 29 | Estimated | May-26 (FQ4 FY26) | 16 | R | 2025-12-31 | n/d | n/d |  | n/d | n/d |  | 35 | In line | Nebius 36.00 vs peer median 35.00 (range Nscale 16.00 - IREN 43.10; n=4); share of RPO converting within 24m
K23 | RPO / annualized quarterly revenue | years | 16.3031 | D | Jun-26 | 10.068 | Derived | Jun-26 | 18.0813 | Derived | Jun-26 | 8.3142 | Derived | May-26 (FQ4 FY26) | 200.569 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 14.0746 | In line | Nebius 16.30 vs peer median 14.07 (range Oracle OCI 8.31 - Nscale 200.57; n=4); backlog coverage of current run-rate |  | Nscale 201 yrs: tiny H1'26 revenue vs $56.4B RPO (pre-ramp).
K24 | Largest customer % of revenue | % | 24 | R | Jun-26 | 36 | Reported | Jun-26 | n/d | n/d |  | n/d | n/d |  | 52 | R | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 44 | Better | Nebius 24.00 vs peer median 44.00 (range CoreWeave 36.00 - Nscale 52.00; n=2); lower concentration is better | Customer C (unnamed) | Nscale H1'26 largest customer 52%. Lambda: Amazon+Microsoft 50% (K26, press).
K25 | 2nd-largest customer % | % | 21 | R | Jun-26 | 26 | Reported | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 26 | Better | Nebius 21.00 vs peer median 26.00 (range CoreWeave 26.00 - CoreWeave 26.00; n=1); lower is better
K26 | Top-N >=10% customers combined % | % | 59 | R | Jun-26 | 72 | Reported | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 50 | P | 2025-06-30 | n/d | n/d |  | 61 | In line | Nebius 59.00 vs peer median 61.00 (range Lambda 50.00 - CoreWeave 72.00; n=2); lower combined concentration is better
K27 | Number of customers >=10% of revenue | # | 3 | R | Jun-26 | 3 | Reported | Jun-26 | n/d | n/d |  | 0 | Reported | May-26 (FQ4 FY26) | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 1.5 | Worse | Nebius 3.00 vs peer median 1.50 (range Oracle OCI 0.00 - CoreWeave 3.00; n=2); fewer >=10% customers is better
K28 | Weighted effective cost of debt (principal-weighted, EoP) - all facilities | % | 5.1 | D | Jun-26 | 8.4134 | Derived | Jun-26 | 1.8523 | Derived | Jun-26 | 4.8282 | Derived | May-26 (FQ4 FY26) | 18.7268 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 4.8282 | In line | Nebius 5.10 vs peer median 4.83 (range IREN 1.85 - CoreWeave 8.41; n=3); cheaper debt (converts-heavy) is better |  | Nscale 18.7% on legacy $137M (excluded from median); marginal secured: Nscale ~6.25% E, Lambda 6.78% R, Crusoe ~9.1% E (PX09).; Excluded from median: Nscale: legacy $137M debt; marginal secured ~6.25% E (PX09)
K29 | of which DDTL - weighted eff. rate | % | n/d | n/d |  | 9.6235 | Derived | Jun-26 | 7.12 | Derived | Jun-26 | n/d | n/d |  | 11.3 | R | 2026-06-30 | 6.78 | R | 2026-10-01 | 9.1021 | E (inputs P) | 2026-09-10 | 9.1021 | n/a | Nebius n/d. facility-level rate (context) | Not disclosed in Nebius filings / not computable on the same definition
K34 | of which Other term loans - weighted eff. rate | % | n/d | n/d |  | 12 | Derived | Jun-26 | n/d | n/d |  | 5.29 | Derived | May-26 (FQ4 FY26) | 22.74 | R | 2026-06-30 | n/d | n/d |  | 6 | P | 2026-02-20 | 9 | n/a | Nebius n/d. facility-level rate (context) | Not disclosed in Nebius filings / not computable on the same definition
K35 | DDTL (secured asset-level) share of principal | % | n/d | n/d |  | 38.3759 | Derived | Jun-26 | 5.3597 | Derived | Jun-26 | 0 | Derived | May-26 (FQ4 FY26) | 35.0801 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 20.2199 | n/a | Nebius n/d. structure context | Not disclosed in Nebius filings / not computable on the same definition
K36 | Implied cash cost: contractual interest x4 / avg principal | % | 5.606 | D | Jun-26 | 7.8023 | Derived | Jun-26 | 1.7092 | Derived | Jun-26 | 4.3552 | Derived | May-26 (FQ4 FY26) | 22.1914 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 6.0787 | In line | Nebius 5.61 vs peer median 6.08 (range IREN 1.71 - Nscale 22.19; n=4); lower cash cost of debt is better | P&L interest (incl. convert accretion) / avg carrying debt | IREN finance expense incl. amortization; Oracle interest/avg carrying.
K37 | Company-reported weighted average interest rate | % | n/d | n/d |  | 8.3 | Reported | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 8.3 | n/a | Nebius n/d. company-reported rate | Not disclosed in Nebius filings / not computable on the same definition
K38 | Total debt principal (EoP) | $B | 8.5457 | R | Jun-26 | 35.551 | Reported | Jun-26 | 7.7056 | Reported | Jun-26 | 129.541 | Reported | May-26 (FQ4 FY26) | 0.1374 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 21.6283 | Context | Nebius 8.55 vs peer median 21.63 (range Nscale 0.14 - Oracle OCI 129.54; n=4); size context | carrying value (not principal)
K39 | Debt principal / RPO | x | 0.22794 | D | Jun-26 | 0.34283 | Derived | Jun-26 | 1.5109 | Derived | Jun-26 | 0.20304 | Derived | May-26 (FQ4 FY26) | 0.0024362 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 0.27293 | In line | Nebius 0.23 vs peer median 0.27 (range Nscale 0.00 - IREN 1.51; n=4); lower debt per $ of backlog is better
K40 | Capitalized interest % of contractual interest | % | 25.2354 | D | Jun-26 | 13.3446 | Reported | Jun-26 | n/d | n/d |  | n/d | n/d |  | 0 | D | 2026-06-30 | n/d | n/d |  | n/d | n/d |  | 6.6723 | Worse | Nebius 25.24 vs peer median 6.67 (range Nscale 0.00 - CoreWeave 13.34; n=2); high capitalized share flatters P&L interest
K41 | Company-reported GPU utilization (physical) | % | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 97.5 | Reported | May-26 (FQ4 FY26) | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 97.5 | n/a | Nebius n/d. physical utilization (Oracle only) | Not disclosed in Nebius filings / not computable on the same definition
K42 | RPO % recognized within 12 months | % | n/d | n/d |  | n/d | n/d |  | 17.6 | Derived | Jun-26 | 12 | Reported | May-26 (FQ4 FY26) | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 14.8 | n/a | Nebius n/d. n/d for Nebius (24m bucket only) | Not disclosed in Nebius filings / not computable on the same definition
K43 | Incremental annualized revenue per incremental MW (YoY) | $M/MW-yr | 15.0375 | E | Jun-26 | 5.2901 | D | Jun-26 | 6.8088 | Estimated | Jun-26 | 9.3067 | Estimated | May-26 (FQ4 FY26) | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 6.8088 | Better | Nebius 15.04 vs peer median 6.81 (range CoreWeave 5.29 - Oracle OCI 9.31; n=3); marginal revenue per new MW |  | Oracle allocates all incremental OCI revenue to delivered AI MW (E).
K44 | Annualized revenue / avg gross GPU-compute hardware in service | x | 0.46502 | D | Jun-26 | 0.34078 | D | Jun-26 | 0.1982 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 0.26949 | Better | Nebius 0.47 vs peer median 0.27 (range IREN 0.20 - CoreWeave 0.34; n=2); asset turn on GPU hardware | server & network equipment (GPU hardware) basis | CRWV denominator = technology equipment (broader than GPUs).
K45 | Segment gross margin (revenue - cost of revenue excl. D&A) / revenue | % | n/d | n/d |  | n/d | n/d |  | 86.9361 | Derived | Jun-26 | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | n/d | n/d |  | 86.9361 | n/a | Nebius n/d. segment gross margin (n/d for Nebius) | Not disclosed in Nebius filings / not computable on the same definition
Colours: blue = Reported, purple = Press-reported (P, new for private peers), black = Derived, orange = Estimated, grey = n/d / n.m.; yellow fill = shown but excluded from the peer median (not same definition). Composite tags such as 'D (inputs P)' are kept verbatim from private_peers.
Flag rule: Nebius vs MEDIAN of comparable peer values (all 6 peers, latest available period). Better/Worse if > 10% away in the favourable/unfavourable direction, In line otherwise; 'Context' rows are not scored (size, build-out multiple, list price, structure).
Periods: CRWV/IREN Jun-26; Oracle May-26 (FQ4 FY26) or Aug-26 where May n/d; Nscale H1'26 / Aug-26; Lambda mostly Q2'25 (press, no filings); Crusoe Sep-26 (FY26E revenue, GROSS MW). Mixed vintages: treat Lambda/Crusoe as directional.
Nebius MW: Capacity & Power base-case energized MW (Estimated, mixed IT/gross). K02 now uses AVERAGE MW (172.25) - the old Comparison used group revenue on YE25 170 MW (13.7). New K02 = 13.35 E.
Sites: see 'Sites' tab (peers/sites/sites.xlsx + capacity/site_verification.md) for announced vs contracted vs evidenced-active MW.

## README
Peer comparison workbook (step 5, final) - built 2026-10-04 ET by /workspace/nebius/peers/build_comparison.py
Tabs: Comparison (7 companies x 40 template KPIs, value/tag/as-of, peer median, Nebius better/worse + reason) ¦ Ranking ¦ Nebius_Inputs (sources; Comparison Nebius cells are live formulas) ¦ Contracts_$MWyr ¦ Sites ¦ Chart_Data + Charts (native Excel) ¦ Peer_memos.
Tags: R Reported, P Press-reported (new, private peers), D Derived, E Estimated, n/d not disclosed, n.m. not meaningful. Derived tag = weakest input. Private-peer composite tags kept verbatim.
Nebius rev/MW FIX: old Comparison K01 13.7 = Q2'26 group revenue x4 / YE25 170 MW (stale). Now K01 = AI cloud revenue x4 / Jun-26 energized 173 MW = 13.29 E and K02 = x4 / AVERAGE(171.5, 173) = 13.35 E (Capacity & Power base case incl. plug; identified sites 152-194 at Jun-26). Same definitions as peers' K01/K02.
Inputs read (not edited): peers/coreweave¦iren¦oracle/*_kpis.xlsx; peers/private/private_peers_values.json; parts/contract_economics.xlsx (GPU Market agent's contract table - market/ and nebius_market.xlsx hold no contract data); filings/nebius_filings.xlsx + nebius_kpi_history.xlsx; shared/findings_log.xlsx; capacity/nebius_capacity.xlsx + site_list.xlsx + site_verification.md; peers/sites/sites.xlsx + site_verification.md.
Charts: PNGs in /workspace/nebius/peers/charts/ (peers/build_charts.py reads this workbook's recalculated values).
Recalc: python3 /workspace/nebius/model/recalc.py peers/comparison.xlsx (LibreOffice) -> copy /tmp/rc/comparison.xlsx back; 0 errors required.
K02b ADDED 2026-10-05 (Peer KPIs): Revenue per average BILLING IT MW. Nebius uses Capacity billing path (Q1/Q2'26). CoreWeave active≈billed so K02b=K02. Microsoft ACV: quote $11.6 / ~$14.5 / $17.1 (stated / gross-read / GPU-derived) — see Nebius_Inputs NOTE_1417 and peers/price_or_mw.xlsx Nebius_Check.

## Ranking
Where Nebius is better / worse - ranked by signed gap vs comparable-peer median (positive = favourable to Nebius). Context and n/a rows listed last.
Rank | ID | KPI | Flag | Nebius | Peer median | Signed gap % (favourable +; vs max(¦median¦, mean ¦peer¦), computed at build) | Reason
1 | K05 | Adj. EBITDA per active MW (average MW) | Better | 6.6345 | -0.043259 | 137 | Nebius 6.63 vs peer median -0.04 (range Nscale -4.92 - CoreWeave 4.83; n=2); segment adj. EBITDA per MW well above CRWV-style peers
2 | K43 | Incremental annualized revenue per incremental MW (YoY) | Better | 15.0375 | 6.8088 | 115.3 | Nebius 15.04 vs peer median 6.81 (range CoreWeave 5.29 - Oracle OCI 9.31; n=3); marginal revenue per new MW
3 | K07 | Implied blended realized price ($/GPU-hr) | Better | 3.2885 | 1.6621 | 97 | Nebius 3.29 vs peer median 1.66 (range Nscale 1.29 - Lambda 2.09; n=4); realized $/GPU-hr above peers (modeled GPU base; includes non-GPU revenue)
4 | K06 | Revenue per GPU ($K per GPU-year, avg GPUs) | Better | 28.7279 | 14.6003 | 96.3 | Nebius 28.73 vs peer median 14.60 (range Nscale 11.25 - Lambda 18.24; n=4); revenue per (modeled) GPU
5 | K01 | Revenue per active MW - period-end reported MW | Better | 13.2925 | 6.8667 | 93.6 | Nebius 13.29 vs peer median 6.87 (range Crusoe 2.00 - Lambda 9.70; n=5); higher revenue density per energized MW (Nebius MW is a Capacity estimate; mixed IT/gross basis)
6 | K44 | Annualized revenue / avg gross GPU-compute hardware in service | Better | 0.46502 | 0.26949 | 72.6 | Nebius 0.47 vs peer median 0.27 (range IREN 0.20 - CoreWeave 0.34; n=2); asset turn on GPU hardware
7 | K24 | Largest customer % of revenue | Better | 24 | 44 | 45.5 | Nebius 24.00 vs peer median 44.00 (range CoreWeave 36.00 - Nscale 52.00; n=2); lower concentration is better
8 | K02 | Revenue per active MW - average MW (2024 uses interpolated MW) | Better | 13.3504 | 9.3584 | 42.7 | Nebius 13.35 vs peer median 9.36 (range CoreWeave 8.24 - IREN 10.48; n=2); same on average MW - the fixed, comparable figure; Blackwell-heavy, mostly new fleet lifts density
9 | K09 | Implied utilization (realized $/GPU-hr / weighted list) | Better | 59.0271 | 43.944 | 34.3 | Nebius 59.03 vs peer median 43.94 (range CoreWeave 18.06 - Lambda 69.83; n=2); price-based 'utilization' (mixes discount with use); not physical utilization
10 | K03 | Revenue per contracted MW | Better | 0.65703 | 0.33333 | 29.2 | Nebius 0.66 vs peer median 0.33 (range Nscale 0.21 - CoreWeave 2.78; n=3); monetises contracted power faster? Nebius has far more unbuilt contracted MW than CRWV
11 | K25 | 2nd-largest customer % | Better | 21 | 26 | 19.2 | Nebius 21.00 vs peer median 26.00 (range CoreWeave 26.00 - CoreWeave 26.00; n=1); lower is better
12 | K17 | Depreciation yield (D&A x4 / avg in-service gross PP&E) | Better | 17.515 | 14.9086 | 17.5 | Nebius 17.52 vs peer median 14.91 (range Oracle OCI 13.45 - Nscale 15.67; n=4); higher depreciation yield = more conservative
13 | K18 | Implied average depreciable life (1 / yield) | Better | 5.7094 | 6.7169 | 14.8 | Nebius 5.71 vs peer median 6.72 (range Nscale 6.38 - Oracle OCI 7.44; n=4); lower implied life = more conservative
14 | K16 | Useful life - technology equipment (GPUs/servers/network) | Better | 5 | 5.75 | 13 | Nebius 5.00 vs peer median 5.75 (range IREN 5.00 - CoreWeave 6.00; n=4); shorter life = more conservative accounting (Nebius moved 4->5 yrs in 2026; CRWV/Oracle 6)
15 | K39 | Debt principal / RPO | In line | 0.22794 | 0.27293 | 8.7 | Nebius 0.23 vs peer median 0.27 (range Nscale 0.00 - IREN 1.51; n=4); lower debt per $ of backlog is better
16 | K36 | Implied cash cost: contractual interest x4 / avg principal | In line | 5.606 | 6.0787 | 5.2 | Nebius 5.61 vs peer median 6.08 (range IREN 1.71 - Nscale 22.19; n=4); lower cash cost of debt is better
17 | K23 | RPO / annualized quarterly revenue | In line | 16.3031 | 14.0746 | 3.8 | Nebius 16.30 vs peer median 14.07 (range Oracle OCI 8.31 - Nscale 200.57; n=4); backlog coverage of current run-rate
18 | K26 | Top-N >=10% customers combined % | In line | 59 | 61 | 3.3 | Nebius 59.00 vs peer median 61.00 (range Lambda 50.00 - CoreWeave 72.00; n=2); lower combined concentration is better
19 | K22 | RPO % recognized within 24 months | In line | 36 | 35 | 2.9 | Nebius 36.00 vs peer median 35.00 (range Nscale 16.00 - IREN 43.10; n=4); share of RPO converting within 24m
20 | K12 | In-service additions per new active MW (CRWV capex definition) | In line | 19.6807 | 18.704 | -5.2 | Nebius 19.68 vs peer median 18.70 (range CoreWeave 18.70 - CoreWeave 18.70; n=1); in-service $ per MW added (FY25 basis for Nebius)
21 | K28 | Weighted effective cost of debt (principal-weighted, EoP) - all facilities | In line | 5.1 | 4.8282 | -5.4 | Nebius 5.10 vs peer median 4.83 (range IREN 1.85 - CoreWeave 8.41; n=3); cheaper debt (converts-heavy) is better
22 | K14 | Net PP&E per active MW (EoP) | Worse | 75.4058 | 50.9336 | -48 | Nebius 75.41 vs peer median 50.93 (range CoreWeave 31.16 - Nscale 70.71; n=2); net PP&E per active MW inflated by construction-in-progress
23 | K15 | Gross in-service PP&E per active MW (EoP) | Worse | 36.4919 | 23.981 | -52.2 | Nebius 36.49 vs peer median 23.98 (range Nscale 20.83 - CoreWeave 27.14; n=2); gross in-service PP&E per MW
24 | K27 | Number of customers >=10% of revenue | Worse | 3 | 1.5 | -100 | Nebius 3.00 vs peer median 1.50 (range Oracle OCI 0.00 - CoreWeave 3.00; n=2); fewer >=10% customers is better
25 | K13 | Trailing-4Q cash capex per trailing-4Q new active MW | Worse | 87.0453 | 33.1762 | -162.4 | Nebius 87.05 vs peer median 33.18 (range CoreWeave 19.97 - Oracle OCI 46.39; n=2); capex per MW added is high because capex funds 2027 capacity (not-yet-in-use $7.8B)
26 | K40 | Capitalized interest % of contractual interest | Worse | 25.2354 | 6.6723 | -278.2 | Nebius 25.24 vs peer median 6.67 (range Nscale 0.00 - CoreWeave 13.34; n=2); high capitalized share flatters P&L interest
| K04 | Contracted / active MW (build-out multiple) | Context | 20.2312 | 6 |  | Nebius 20.23 vs peer median 6.00 (range CoreWeave 2.47 - Nscale 16.91; n=3); build-out multiple: big growth runway but heavy execution/funding need (context, not scored)
| K08 | Fleet-weighted on-demand list price ($/GPU-hr) | Context | 5.5711 | 3.445 |  | Nebius 5.57 vs peer median 3.45 (range IREN 2.00 - CoreWeave 9.20; n=4); list-price context
| K10 | Cash capex per new active MW (reported MW) | n/a | n.m. | 34.8582 |  | Nebius n/d. single-quarter capex/MW not meaningful for Nebius (+1.5 MW)
| K19 | D&A as % of revenue | Context | 45.1731 | 67.8873 |  | Nebius 45.17 vs peer median 67.89 (range Oracle OCI 12.59 - Nscale 123.76; n=4); D&A burden context
| K20 | RPO (ASC 606, EoP) | Context | 37.4906 | 80.05 |  | Nebius 37.49 vs peer median 80.05 (range IREN 5.10 - Oracle OCI 638.00; n=4); absolute size context
| K21 | Revenue backlog (company metric, EoP) | n/a | n/d | 103.4 |  | Nebius n/d. company backlog metric (context)
| K29 | of which DDTL - weighted eff. rate | n/a | n/d | 9.1021 |  | Nebius n/d. facility-level rate (context)
| K34 | of which Other term loans - weighted eff. rate | n/a | n/d | 9 |  | Nebius n/d. facility-level rate (context)
| K35 | DDTL (secured asset-level) share of principal | n/a | n/d | 20.2199 |  | Nebius n/d. structure context
| K37 | Company-reported weighted average interest rate | n/a | n/d | 8.3 |  | Nebius n/d. company-reported rate
| K38 | Total debt principal (EoP) | Context | 8.5457 | 21.6283 |  | Nebius 8.55 vs peer median 21.63 (range Nscale 0.14 - Oracle OCI 129.54; n=4); size context
| K41 | Company-reported GPU utilization (physical) | n/a | n/d | 97.5 |  | Nebius n/d. physical utilization (Oracle only)
| K42 | RPO % recognized within 12 months | n/a | n/d | 14.8 |  | Nebius n/d. n/d for Nebius (24m bucket only)
| K45 | Segment gross margin (revenue - cost of revenue excl. D&A) / revenue | n/a | n/d | 86.9361 |  | Nebius n/d. segment gross margin (n/d for Nebius)
43 | K02b | Revenue per BILLING IT MW - average MW | Better | 13.0555 | 8.24 |  | NEW billed-IT twin of K02

## Nebius_Inputs
Nebius inputs for the Comparison tab (Q2'26 = quarter ended 30-Jun-2026 unless stated). Comparison Nebius cells are live formulas on column C.
ID | Item | Value | Unit | Tag | Source (Nebius workspace file / row)
N01 | AI cloud segment revenue Q2'26 | 574.9 | $M | R | filings/nebius_filings.xlsx Quarterly 'Segment revenue - Nebius AI cloud'; 6-K 2026-08-12
N02 | AI cloud segment revenue Q2'25 | 93.7 | $M | R | filings/nebius_filings.xlsx Quarterly
N03 | Group revenue Q2'26 (memo) | 582.3 | $M | R | filings/nebius_filings.xlsx Quarterly
N04 | AI cloud adj. EBITDA Q2'26 | 285.7 | $M | R | filings/nebius_filings.xlsx Quarterly
N05 | D&A Q2'26 (group) | 259.7 | $M | R | filings/nebius_filings.xlsx Quarterly
N06 | Cash capex Q3'25 | 955.5 | $M | R | filings/nebius_filings.xlsx Quarterly
N07 | Cash capex Q4'25 | 2056 | $M | R | filings/nebius_filings.xlsx Quarterly
N08 | Cash capex Q1'26 | 2472.9 | $M | R | filings/nebius_filings.xlsx Quarterly
N09 | Cash capex Q2'26 | 5657.4 | $M | R | filings/nebius_filings.xlsx Quarterly
N10 | PP&E net 30-Jun-26 | 13045.2 | $M | R | filings/nebius_filings.xlsx Quarterly
N11 | Gross in-service PP&E 31-Mar-26 (gross 7,976.6 - not yet in use 2,427.9) | 5548.7 | $M | D | filings/nebius_kpi_history.xlsx KPI row 26 (Q1'26 interim FS Note 7)
N12 | Gross in-service PP&E 30-Jun-26 (gross 14,149.5 - not yet in use 7,836.4) | 6313.1 | $M | D | filings/nebius_kpi_history.xlsx KPI row 26 (Q2'26 interim FS Note 7)
N13 | Server & network equipment gross 31-Mar-26 | 4692.7 | $M | R | filings/nebius_kpi_history.xlsx KPI row 23
N14 | Server & network equipment gross 30-Jun-26 | 5197.7 | $M | R | filings/nebius_kpi_history.xlsx KPI row 23
N15 | Energized MW 30-Jun-25 (Capacity base case) | 45 | MW | E | filings/nebius_kpi_history.xlsx KPI row 28 (capacity/nebius_capacity.xlsx Quarterly MW; mixed IT/gross basis)
N16 | Energized MW 31-Mar-26 (Capacity base case incl. plug) | 171.5 | MW | E | filings/nebius_kpi_history.xlsx KPI row 28
N17 | Energized MW 30-Jun-26 (Capacity base case incl. plug) | 173 | MW | E | filings/nebius_kpi_history.xlsx KPI row 28 (identified sites low 152 / high 194)
N18 | Active MW as stated by mgmt, YE25 (memo; old K01 basis) | 170 | MW | R | filings MW_Disclosures: Q4'25 letter '~170 MW of active power'
N19 | Contracted power (>3.5 GW, May-26; YE26 target 5 GW) | 3500 | MW | R | filings MW_Disclosures: Q1'26 letter p.6 (lower bound)
N20 | Average GPUs Q2'26 (modeled) | 80047.5 | GPUs | E | filings/nebius_kpi_history.xlsx KPI row 53 (Capacity: MW x GPUs/MW; not a company count)
N21 | Days in Q2'26 | 91 | days | R | calendar
N22 | Fleet-weighted on-demand list price Q2'26 avg | 5.5711 | $/GPU-hr | E | filings/nebius_kpi_history.xlsx KPI row 50 (GPU Market list prices x Capacity GPU mix)
N23 | RPO 30-Jun-26 | 37490.6 | $M | R | filings/nebius_filings.xlsx Quarterly; 100% AI cloud
N24 | RPO % within 24 months | 36 | % | R | shared/findings_log.xlsx row 32 (Q2'26 interim FS)
N25 | Customer C % of Q2'26 revenue | 24 | % | R | filings/nebius_filings.xlsx Quarterly concentration; Q2'26 interim FS Note 1 p.F-17
N26 | Customer D % | 21 | % | R | as above
N27 | Customer E % | 14 | % | R | as above
N28 | Customers >=10% of revenue | 3 | # | R | as above
N29 | Useful life servers & network (from 1-Jan-26) | 5 | years | R | filings D&A_Policy (20-F FY25 p.56/F-15)
N30 | Weighted effective cost of debt (converts + secured) | 5.1 | % | D | shared/findings_log.xlsx row 51 (GPU Market & Comps)
N31 | Interest expense Q2'26 (net of capitalized; incl. accretion) | 119.1 | $M | R | filings FactBase row 21 (6-K 2026-08-12)
N32 | Capitalized interest Q2'26 | 40.2 | $M | R | shared/findings_log.xlsx row 137 / D&A_Policy (Q2FS Note 12)
N33 | Total debt carrying 31-Mar-26 | 8450.4 | $M | R | filings/nebius_filings.xlsx Quarterly
N34 | Total debt carrying 30-Jun-26 | 8545.7 | $M | R | filings/nebius_filings.xlsx Quarterly (accreted principal at maturity 10,041.8)
N35 | Gross in-service PP&E 31-Dec-24 | 919.2 | $M | D | filings/nebius_kpi_history.xlsx KPI row 26
N36 | Gross in-service PP&E 31-Dec-25 | 3772.9 | $M | D | filings/nebius_kpi_history.xlsx KPI row 26
N37 | Energized MW 31-Dec-24 | 25 | MW | E | filings/nebius_kpi_history.xlsx KPI row 28
N38 | Energized MW 31-Dec-25 | 170 | MW | E | filings/nebius_kpi_history.xlsx KPI row 28 (ties to mgmt ~170)
N_BILL_Q1 | Billing IT MW Q1'26 (Capacity row 147) | 165.46 | E | capacity/nebius_capacity.xlsx
N_BILL_Q2 | Billing IT MW Q2'26 (Capacity row 147) | 186.82 | E | capacity/nebius_capacity.xlsx
NOTE_1417 | Microsoft ACV alignment: $11.60 on stated 300 MW ¦ ~$14.5 on Capacity gross→IT (~240) ¦ $17.08 on GPU-derived 203.7 IT MW. Same contract, three readings.

## Contracts_$MWyr
Hyperscaler / neocloud / AI-lab contract economics: implied $M per MW-yr = TCV / term / MW (8,760 h/yr for $/GPU-hr). 'Reused' rows are the GPU Market agent's entries in parts/contract_economics.xlsx (Deals/Normalized; nothing contract-related exists in market/ or nebius_market.xlsx) - cited, not re-researched; their values shown in cols R-T and checked vs ours in col U. 'New' rows added here with sources. Facility leases at the bottom are NOT compute prices (shell+power only). Never fabricated: n/d where undisclosed.
ID | Status | Provider | Customer | Category | Signed | TCV ($M) | TCV tag | Term (yrs) | MW (as stated) | MW basis | IT MW (normalized) | IT MW method | Chip | GPUs | GPU tag | TCV / yr ($M) | Market agent $M/MW-yr (stated MW) | Market agent $M/IT MW-yr | Market agent $/GPU-hr | Check: ours - market ($M/MW-yr) | $M per MW-yr (stated MW) | $M per IT MW-yr | $ per GPU-hr | Source | Notes / conflicts
N1 | Reused | Nebius | Microsoft | Neocloud-hyperscaler | 2025-09-08 | 17392.9 | R | 5 | 300 | unlabeled (likely gross) | 203.666 | D: 100k GB300 / 491 per IT MW | GB300 NVL72 (P) | 100000 | P (floor) | 3478.58 | 11.595 | 17.08 | 3.971 | 0 | 11.5953 | 17.0798 | 3.971 | 6-K 2025-09-08 (SEC) ¦ parts/contract_economics.xlsx (GPU Market agent) Deals/Normalized N1 | Prepay-adjusted 18.56 / $4.32 (market). Capacity read of 300 MW as gross ~230-250 IT -> 14.5 per IT MW (market Notes_Method).
N1o | Reused | Nebius | Microsoft (incl. option) | Neocloud-hyperscaler | 2025-09-08 | 19400 | R (up to) | 5 | 300 | unlabeled | 203.666 | as N1 | GB300 (P) | 100000 | P (floor) | 3880 | 12.933 | 19.051 | 4.429 | 0 | 12.9333 | 19.0508 | 4.4292 | parts/contract_economics.xlsx (GPU Market agent) N1o | Upside case.
N2 | Reused | Nebius | Meta #1 | Neocloud-hyperscaler | 2025-11-01 | 2880.7 | R | 5 | n/d | not disclosed | 50 | E (LOW): unsourced secondary ~50 MW | n/d |  |  | 576.14 |  | 11.523 |  | 0 | n/d | 11.5228 | n/d | 6-K 2025-11-12 ¦ parts/contract_economics.xlsx (GPU Market agent) N2 | IT MW is a low-confidence estimate (market); Nebius filings tie no MW to the contract.
N3 | Reused | Nebius | Meta #2 (dedicated) | Neocloud-hyperscaler | 2026-03-13 | 12000 | R | 5 | n/d | not disclosed |  |  | Vera Rubin NVL72 |  |  | 2400 |  |  |  |  | n/d | n/d | n/d | 6-K 2026-03-16 ¦ parts/contract_economics.xlsx (GPU Market agent) N3 | Break-even ~149 IT MW to match Anthropic-Nscale $16.16M (market).
N4 | Reused | Nebius | Meta #2 backstop (contingent) | Neocloud-hyperscaler | 2026-03-13 | 15000 | R (up to, contingent) | 5 | n/d |  |  |  | n/d |  |  | 3000 |  |  |  |  | n/d | n/d | n/d | 6-K 2026-03-16 ¦ parts/contract_economics.xlsx (GPU Market agent) N4 | Contingent; excluded from normalized comps.
NAGG1 | Reused (KPI) | Nebius | 4 'landmark' Q2'26 customers (unnamed) | Neocloud-mixed | Q2'26 | n/d |  |  | n/d |  |  |  | n/d |  |  | n/d | 20-25 (ACV/MW, R) |  |  |  | n/d | n/d | n/d | Q2'26 letter p.2-4 (filings MW_Disclosures) ¦ parts/contract_economics.xlsx (GPU Market agent) Notes_Method | Company aggregate: deals averaged >$1B TCV, ACV $20-25M/MW; Q2 deals >$20M/MW vs 2026 base $12M/MW; Q3 short-term >$40M/MW. Basis not stated (Filings: likely IT/active).
P1 | Reused | IREN | Microsoft | Neocloud-hyperscaler | 2025-11-03 | 9700 | R | 5 | 200 | IT | 200 | R | GB300 NVL72 | 98200 | E (200 x 491) | 1940 | 9.7 | 9.7 | 2.255 | 0 | 9.7 | 9.7 | 2.2552 | 8-K 2025-11-03 ¦ parts/contract_economics.xlsx (GPU Market agent) P1 | Prepay-adjusted 10.28 (market).
NEW1 | New | IREN | NVIDIA | Neocloud-chip vendor | 2026-05 (8-K) | 3400 | R | 5 | 60 | unlabeled (existing Childress halls; air-cooled) |  |  | NVIDIA Blackwell (air-cooled) |  | n/d | 680 |  |  |  |  | 11.3333 | n/d | n/d | https://iren.gcs-web.com/news-releases/news-release-details/iren-secures-34bn-ai-cloud-contract-nvidia ; peers/iren (FY26 10-K backlog) | ~60 MW of existing Childress capacity; ramp from early 2027 (peers/sites site_verification.md). Below IREN's 'recent 3-yr >$20M/IT MW' claim.
PAGG | Reused (KPI) | IREN | recent 3-yr contracts (unnamed) | Neocloud-mixed | FY26 | n/d |  | 3 | n/d | IT |  |  | n/d |  |  | n/d | >20 (R) |  |  |  | n/d | n/d | n/d | parts/contract_economics.xlsx (GPU Market agent) Notes_Method | Company statement only.
P2 | Reused | Nscale | Microsoft (all SOWs) | Neocloud-hyperscaler | 2025-09..2026-04 | 43800 | R (up to) | 5.5 | n/a |  | 596.474 | D: 191.6k/491 + 66k/320 | GB300 + Vera Rubin | 257600 | R (sum) | 7963.6364 |  | 13.351 | 3.529 | 0 | n/d | 13.3512 | 3.5291 | Nscale S-1 2026-09-18 ¦ parts/contract_economics.xlsx (GPU Market agent) P2
P2a | Reused | Nscale (Aker JV) | Microsoft - Narvik | Neocloud-hyperscaler | 2025-09-17 | 6200 | R | 5 | n/a |  | 105.906 | D: 52k/491 | GB300 | 52000 | R | 1240 |  | 11.708 | 2.722 | 0 | n/d | 11.7085 | 2.7222 | akernscale.com PR ¦ parts/contract_economics.xlsx (GPU Market agent) P2a | Within P2.
P2b | Reused | Nscale | Microsoft ex-Narvik | Neocloud-hyperscaler |  | 37600 | D | 5.5 | n/a |  | 490.568 | D | GB300 + Vera Rubin | 205600 | R (sum) | 6836.3636 |  | 13.936 | 3.796 | 0 | n/d | 13.9356 | 3.7958 | parts/contract_economics.xlsx (GPU Market agent) P2b | Residual.
O1 | Reused | Nscale | Anthropic | Neocloud-AI lab | 2026-08-25 | 44600 | R (up to) | 6 | 460 | IT | 460 | R (S-1 site #17) | Vera Rubin NVL72 | 147200 | E (460 x 320) | 7433.3333 | 16.159 | 16.159 | 5.765 | 0 | 16.1594 | 16.1594 | 5.7646 | Nscale S-1 ¦ parts/contract_economics.xlsx (GPU Market agent) O1
P3 | Reused | Lambda | Microsoft | Neocloud-hyperscaler | 2025-11-03 | n/d | 'multibillion' |  | n/d |  |  |  | GB300 NVL72 (partly) |  |  | n/d |  |  |  |  | n/d | n/d | n/d | lambda.ai blog 2025-11-03 ¦ parts/contract_economics.xlsx (GPU Market agent) P3 | No economics public.
NEW2 | New | Lambda | Anthropic | Neocloud-AI lab | 2026-09-01 (press) | 35000 | P | 6 | 350 | unlabeled (Hut 8 Beacon Point TX) |  |  | n/d |  |  | 5833.3333 |  |  |  |  | 16.6667 | n/d | n/d | WSJ via theenergymag.com (peers/private private_peers.xlsx L21/L12) | Not confirmed by Lambda; NVIDIA holds the Hut 8 lease (row F6).
NEW3 | New | Lambda | NVIDIA (GPU leaseback, main tranche) | Neocloud-chip vendor | 2025-09-08 (press) | 1300 | P | 4 | n/d |  |  |  | NVIDIA GPUs (type n/d) | 10000 | P | 325 |  |  |  |  | n/d | n/d | 3.71 | DCD citing The Information (private_peers L18/L19) | Total reported $1.5B / ~18k GPUs (incl. +$200M / 8k GPUs) -> $2.38/GPU-hr on the total; private_peers uses the $1.3B/10k tranche = $3.71.
P4 | Reused | CoreWeave | Meta #1 | Neocloud-hyperscaler | 2025-09-30 | 14200 | R (up to) | 6.22 | n/d |  |  |  | GB300 (P) |  |  | 2282.9582 |  |  |  |  | n/d | n/d | n/d | 8-K 2025-09-30 ¦ parts/contract_economics.xlsx (GPU Market agent) P4
P5 | Reused | CoreWeave | Meta #2 | Neocloud-hyperscaler | 2026-04-09 | 21000 | R (up to) | 6.73 | n/d |  |  |  | incl. Vera Rubin |  |  | 3120.3566 |  |  |  |  | n/d | n/d | n/d | 8-K ¦ parts/contract_economics.xlsx (GPU Market agent) P5
P6 | Reused | CoreWeave | OpenAI T1 | Neocloud-AI lab | 2025-03-10 | 11900 | R (up to) | 5 | n/d |  |  |  | n/d |  |  | 2380 |  |  |  |  | n/d | n/d | n/d | parts/contract_economics.xlsx (GPU Market agent) P6 | $350M CRWV equity to OpenAI.
P7 | Reused | CoreWeave | OpenAI T2 | Neocloud-AI lab | 2025-05-15 | 4000 | R (up to) | 3.9 | n/d |  |  |  | n/d |  |  | 1025.641 |  |  |  |  | n/d | n/d | n/d | parts/contract_economics.xlsx (GPU Market agent) P7
P8 | Reused | CoreWeave | OpenAI T3 | Neocloud-AI lab | 2025-09-25 | 6500 | R (up to) | 5.68 | n/d |  |  |  | n/d |  |  | 1144.3662 |  |  |  |  | n/d | n/d | n/d | parts/contract_economics.xlsx (GPU Market agent) P8 | OpenAI total ~$22.4B.
NEW4 | New | CoreWeave | Jane Street | Neocloud-other | 2026-04-15 | 6000 | R |  | n/d |  |  |  | Vera Rubin (part) |  |  | n/d |  |  |  |  | n/d | n/d | n/d | https://www.coreweave.com/news/jane-street-signs-6-billion-ai-cloud-agreement-with-coreweave | Term/MW not disclosed; plus $1B equity investment by Jane Street.
NEW5 | New | CoreWeave | Anthropic | Neocloud-AI lab | 2026-04-10 | n/d | R (no value) |  | n/d |  |  |  | n/d |  |  | n/d |  |  |  |  | n/d | n/d | n/d | https://coreweave.com/news/coreweave-announces-multi-year-agreement-with-anthropic | Multi-year; no value.
NEW6 | New | Crusoe | Jane Street | Neocloud-other | 2026-09-04 (press) | 13000 | P | 5 | n/d |  |  |  | n/d |  |  | 2600 |  |  |  |  | n/d | n/d | n/d | DCD citing Bloomberg (private_peers C17)
NEW7 | New | Crusoe | Meta | Neocloud-hyperscaler | 2026-06-19 (press) | n/d |  |  | 1600 | unlabeled (Childress TX + Warrenton MO) |  |  | n/d |  |  | n/d |  |  |  |  | n/d | n/d | n/d | DCD citing Bloomberg (private_peers C14) | Value/term n/d.
NEW8 | New | Crusoe | Microsoft (Abilene 900 MW campus) | Neocloud-hyperscaler | 2026-03-27 | n/d |  |  | 900 | gross (2 x 336 MW IT = 672 IT) | 672 | R | n/d |  |  | n/d |  |  |  |  | n/d | n/d | n/d | Crusoe PR 2026-03-27 (private_peers C13) | First building mid-2027; value n/d.
NEW9 | New | Crusoe (JV) / Oracle | Oracle for OpenAI (Abilene Stargate) | Developer-hyperscaler | 2025-05-21 | n/d |  |  | 1200 | gross (~843 IT per peers/sites) |  |  | GB200 (up to 50k per bldg) |  |  | n/d |  |  |  |  | n/d | n/d | n/d | Crusoe JV PR 2025-05-21 (private_peers C12); peers/sites site_verification.md | All 8 buildings leased to Oracle; contract value n/d (the $15B is JV project cost, not contract value). Economics flow through O2.
O2 | Reused | Oracle | OpenAI (Stargate) | Hyperscaler-AI lab | 2025-07/09 (press) | 300000 | P (WSJ) | 5 | 4500 | unlabeled | 3750 | E: /1.2 PUE if gross | Mixed (GB200 etc.) |  |  | 60000 | 13.333 | 16 |  | 0 | 13.3333 | 16 | n/d | WSJ ¦ parts/contract_economics.xlsx (GPU Market agent) O2 | Not named in Oracle filings.
NEW10 | New | Oracle | Meta | Hyperscaler-hyperscaler | 2025-10-16 (confirmed) | 20000 | P (talks, Bloomberg) |  | n/d |  |  |  | n/d |  |  | n/d |  |  |  |  | n/d | n/d | n/d | Bloomberg/Reuters 2025-09-19; CNBC 2025-10-16 (Oracle confirmed Meta among $65B new commitments) | Value ~ $20B is press (in talks); term 'multi-year'.
O3 | Reused | SpaceX (xAI) | Anthropic | AI lab-AI lab | 2026 (424B4) | $1.25B/month | R | 2.9 | n/d |  |  |  | unspecified NVIDIA | 325000 | R | 15000 |  |  | 5.269 |  | n/d | n/d | 5.2687 | SpaceX 424B4 ¦ parts/contract_economics.xlsx (GPU Market agent) O3 | 90-day termination; $/GPU-hr = 1,250e6/(325k x 730).
NEW11 | New | Microsoft (Azure) | OpenAI | Hyperscaler-AI lab | 2025-10-28 | 250000 | R (incremental commitment) |  | n/d |  |  |  | n/d |  |  | n/d |  |  |  |  | n/d | n/d | n/d | https://openai.com/index/next-chapter-of-microsoft-openai-partnership/ | Term not disclosed.
NEW12 | New | AWS | OpenAI | Hyperscaler-AI lab | 2025-11-03 | 38000 | R | 7 | n/d |  |  |  | GB200 + GB300 |  | 'hundreds of thousands' | 5428.5714 |  |  |  |  | n/d | n/d | n/d | https://openai.com/index/aws-and-openai-partnership/ | All capacity targeted by end-2026.
NEW13 | New | Microsoft (Azure) | Anthropic | Hyperscaler-AI lab | 2025-11-18 | 30000 | R |  | n/d (plus up to 1 GW additional) |  |  |  | Grace Blackwell / Vera Rubin |  |  | n/d |  |  |  |  | n/d | n/d | n/d | https://www.anthropic.com/news/microsoft-nvidia-anthropic-announce-strategic-partnerships | 1 GW is additional capacity, not tied to the $30B -> no $/MW computed.
NEW14 | New | Google Cloud | Anthropic | Hyperscaler-AI lab | 2025-10-23 | n/d ('tens of billions') | P |  | >1,000 (2026) | unlabeled |  |  | TPU (up to 1M) |  |  | n/d |  |  |  |  | n/d | n/d | n/d | https://www.anthropic.com/news/expanding-our-use-of-google-cloud-tpus-and-services ; Reuters 2025-10-23 | Expanded Apr-2026 (multi-GW from 2027, Google/Broadcom).
NEW15 | New | Google Cloud | Meta | Hyperscaler-hyperscaler | 2025-08-21 (press) | 10000 | P (>$10B) | 6 | n/d |  |  |  | n/d |  |  | 1666.6667 |  |  |  |  | n/d | n/d | n/d | Reuters/CNBC 2025-08-21
NEW16 | New | Cerebras | OpenAI | Chip vendor cloud-AI lab | 2026-01-14 | 10000 | P (>$10B) | 3 | 750 | unlabeled (ramp 250/500/750 by YE26/27/28) |  |  | Cerebras WSE |  |  | 3333.3333 |  |  |  |  | 4.4444 | n/d | n/d | Reuters/CNBC 2026-01-14; MRA on SEC (Cerebras filing) | NAIVE: ramp means average MW << 750 -> true $/MW-yr higher; lower bound.
REF | Reused | TeraWulf | Fluidstack (Google backstop) | Facility lease | 2025-08-14 | 3700 | R | 10 | 200 | IT | 200 | R | n/a |  |  | 370 | 1.85 | 1.85 |  | 0 | 1.85 | 1.85 | n/d | parts/contract_economics.xlsx (GPU Market agent) REF | Facility only.
F1 | New | Cipher Mining | AWS | Facility lease | 2025-11-03 | 5500 | R | 15 | 300 | gross (Davis Polk) |  |  | n/a |  |  | 366.6667 |  |  |  |  | 1.2222 | n/d | n/d | https://www.sec.gov/Archives/edgar/data/1819989/000181998925000110/nov3_earningspressreleasex.htm | Turnkey space+power; rent from Aug-2026.
F2 | New | Cipher Mining | Fluidstack (Google backstop $1.4B) | Facility lease | 2025-09-25 | 3000 | R | 10 | 168 | IT | 168 | R | n/a |  |  | 300 |  |  |  |  | 1.7857 | 1.7857 | n/d | https://www.globenewswire.com/news-release/2025/09/25/3156107/0/en/cipher-mining-signs-168-mw-10-year-ai-hosting-agreement-with-fluidstack.html | +39 MW IT add-on Nov-2025 (total ~$3.83B).
F3 | New | Hut 8 | Fluidstack (Anthropic; Google backstop) | Facility lease | 2025-12-17 | 7000 | R | 15 | 245 | IT | 245 | R | n/a |  |  | 466.6667 |  |  |  |  | 1.9048 | 1.9048 | n/d | https://www.prnewswire.com/news-releases/hut-8-signs-15-year-245-mw-ai-data-center-lease-at-river-bend-campus-with-total-contract-value-of-7-0-billion-302644600.html | Triple-net, 3% escalator.
F4 | New | Applied Digital | CoreWeave (Polaris Forge 1) | Facility lease | 2025-06..08 | 11000 | R | 15 | 400 | IT | 400 | R | n/a |  |  | 733.3333 |  |  |  |  | 1.8333 | 1.8333 | n/d | https://ir.applieddigital.com/news-events/press-releases/detail/128/applied-digital-finalizes-additional-150mw-lease-with | 3 leases ~15 yrs.
F5 | New | Galaxy | CoreWeave (Helios) | Facility lease | 2025 | 15000 | D (R: >$1B/yr) | 15 | 526 | IT (800 gross) | 526 | R | n/a |  |  | 1000 |  |  |  |  | 1.9011 | 1.9011 | n/d | https://www.galaxy.com/newsroom/galaxy-completes-phase-i-of-its-helios-data-center-campus | TCV derived = >$1B/yr x 15 (lower bound).
F6 | New | Hut 8 | NVIDIA (Beacon Point; for Lambda/Anthropic) | Facility lease | 2026-09 (press) | 19600 | P | 15 | 704 | unlabeled |  |  | n/a |  |  | 1306.6667 |  |  |  |  | 1.8561 | n/d | n/d | theenergymag.com (private_peers L12 note)
F7 | New | AIB Data Centers | Nebius (CLT1) | Facility lease (Nebius tenant) | 2026-09-30 | n/d |  | 12 | 50 | IT | 50 | R | n/a |  |  | n/d |  |  |  |  | n/d | n/d | n/d | https://www.globenewswire.com/news-release/2026/09/30/3371855/0/en/aib-data-centers-signs-contract-with-nebius-for-ai-data-center-capacity.html ; capacity/site_list.xlsx row 23 | Value n/d; Red grade (capacity).
CONFLICTS / DIFFERENCES vs the GPU Market agent's data (parts/contract_economics.xlsx):
1) Location: the request pointed to /workspace/nebius/market/ and nebius_market.xlsx; neither holds contract data (price history/scrapers only). The contract table is parts/contract_economics.xlsx - used as the reuse source.
2) Microsoft-Nebius MW basis: market headline 17.08 $M/IT MW-yr uses 203.7 IT MW derived from >100k GB300 (press floor); on the stated 300 MW it is 11.60; Capacity reads 300 as gross (~230-250 IT) -> ~14.5. Nebius filings tie no MW to the contract. All three shown; no number changed.
3) Meta-Nebius #1: market computes 11.52 on ~50 MW (Estimated, low confidence, unsourced secondary). Nebius filings (MW_Disclosures) state no MW -> treat as n/d for comparisons.
4) Lambda-NVIDIA leaseback (new row): reported $1.5B / ~18k GPUs / 4 yrs -> $2.38/GPU-hr overall vs $3.71 on the $1.3B / 10k tranche used in private_peers (PX13). Same source, different slicing.
5) IREN: company claims recent 3-yr contracts >$20M/IT MW (market) but the NVIDIA contract (new) is ~$11.3M/MW-yr on ~60 MW (unlabeled) and Microsoft $9.7M -> the >$20M deals are not the two named anchors.
6) Oracle-OpenAI $300B (market O2) is press-only; Oracle filings/peers/oracle do not name it; RPO $638B (May-26) is consistent in scale. Oracle MW basis: ~353 GPUs/MW in peers/oracle implies GROSS, matching market's 16.0 'if gross' variant.
7) Nscale: market P2 13.35 $M/IT MW-yr (Microsoft) vs private_peers PX10 13.24 (all contracted TCV / 5.7 yrs / 1,370 MW) - consistent (<1%).
8) Cerebras-OpenAI 4.44 is a naive lower bound (750 MW is the end-2028 ramp level).

## Sites
Sites: announced vs contracted vs EVIDENCED-ACTIVE MW (low/base/high), YE26, grade and confidence. Peers: peers/sites/sites.xlsx 'Sites' + peers/sites/site_verification.md (user's parallel workstream; linked, not edited). Nebius: capacity/nebius_capacity.xlsx ('Sites' grades, 'Quarterly MW' Q3'26 = current evidenced energized; YE26 = Q4'26) + capacity/site_verification.md. Same method/grade scale for both (Green/Yellow/Red).
A. Peer key sites (peers/sites/sites.xlsx)
Company | Site | MW basis | Announced MW (text) | Announced MW (numeric, for chart) | Contracted MW | Active low | Active base | Active high | YE26 low | YE26 base | YE26 high | Grade | Confidence | Evidence / key images | Source
CoreWeave | Denton TX (Core Scientific campus, 8171 Jim Christal Rd) | IT (critical) MW | ~262 MW IT (394 MW grid) at full build | 262 | ~260 MW IT leased to CoreWeave (CORZ Q2-26 deck) | 250 | 260 | 262 | 260 | 262 | 262 | Green | High (landlord SEC filings; imagery consistent) | Landlord-reported billing: Bldgs D-G ~132 MW billing Mar-2026 (8-K Ex99.2 2026-04-21); ~260 MW leased & ~260 MW billing, "substantially complete" (Q2-26 deck 2026-07-28). Low = rounding haircut on "~260". ¦ strips/denton_tx_strip.png; imagery/denton_tx/detail/denton_tx_2023-06-28_crop.png; imagery/denton_tx/detail/denton_tx_2026-09-15_crop.png | peers/sites/sites.xlsx Sites; site_verification.md
IREN | Childress TX (620 FM 1033) | IT MW for AI; grid MW for site | 750 MW grid site; Horizons 1-4 = 4 x 50 MW IT liquid-cooled (+H5-6 2027); 60 MW IT air-cooled for NVIDIA contract (from early 2027) | 260 | 200 MW IT Microsoft ($9.7B/5 yr) = Horizons 1-4; NVIDIA $3.4B within 60 MW of existing halls (ramp from early 2027) | 50 | 75 | 100 | 100 | 150 | 200 | Green (H1-2) / Yellow (H3-4 by Q4-26) | High for 50 MW; Medium for 75-100 MW | Horizon 1 (50 MW IT) delivered/accepted by Microsoft 2026-08-13 (SEC Ex99.1); Horizon 2 commissioning underway (FY26 results 2026-08-27) => 50-100 MW IT AI. Legacy bitcoin load (650 MW "operating data centers" Aug-2025) separate and being wound down. ¦ strips/childress_tx_strip.png; imagery/childress_tx/detail/childress_tx_2024-07-30_crop.png; imagery/childress_tx/detail/childress_tx_2026-09-28_crop.png | peers/sites/sites.xlsx Sites; site_verification.md
Nscale | Kvandal (Narvik/Bjerkvik) NO - Stargate Norway | MW (grid allocation / IT not split) | 230 MW grid allocated (Statnett) + up to 290 MW more (paused); HENT KNB4-6 = 100 MW buildings | 230 | S-1: Norway owned sites 100 + 100 MW contracted (not active); Vattenfall PPA phase 1 2027-31 | 0 | 0 | 0 | 0 | 0 | 0 | Yellow (2027 start; NVE/grid risks) | High that active = 0 | Under construction: groundbreaking 2025-11-19 (NRK); HENT 2026-09-02 completion "during 2027"; Vattenfall PPA operations from 2027; imagery shows first shells only from Jun-2026. ¦ strips/kvandal_no_strip.png; imagery/kvandal_no/detail/kvandal_no_2025-10-04_crop.png; imagery/kvandal_no/detail/kvandal_no_2026-09-11_crop.png | peers/sites/sites.xlsx Sites; site_verification.md
Crusoe | Abilene TX (Lancium Clean Campus; Stargate - Oracle/OpenAI) | IT MW | 1.2 GW / 8 buildings (Crusoe JV PR 2025-05-21); Microsoft 900 MW (2 x 336 MW IT) adjacent campus 2027+ | 843 | All 8 buildings leased to Oracle (for OpenAI); 600 MW expansion reportedly not proceeding (Mar-2026, secondary) | 200 | 421 | 421 | 421 | 632 | 843 | Green (B1-4) / Yellow (B5-8 by YE26) | Medium-High (200 MW company-stated; 421 MW third-party satellite estimate) | Oracle post 2026-04-22: "In Abilene, 200MW is already operational" (via Epoch). Epoch AI satellite model: Bldgs 1-2 (211 MW IT) operational by 2025-12-24; Bldgs 3-4 -> 421 MW IT est. ~2026-05-23; Bldgs 5-8 roofed Jul-2026, projected 843 MW ~2026-11-01. ¦ strips/abilene_tx_strip.png; imagery/abilene_tx/detail/abilene_tx_2025-04-10_crop.png; imagery/abilene_tx/detail/abilene_tx_2026-09-15_crop.png | peers/sites/sites.xlsx Sites; site_verification.md
Lambda | Kansas City MO (Project Blitz, 11155 N Airworld Dr) | IT MW | 24 MW early 2026; >100 MW potential (Lambda blog 2025-10-28) | 24 | Single customer (unnamed); >10,000 Blackwell Ultra GPUs | 0 | 12 | 24 | 12 | 24 | 24 | Yellow (no go-live confirmation) | Low | No public confirmation of operation. MO DNR letter 2026-04-15: commissioning from 2026-06-01 on 5 x 3 MW rental engines (prime, Jun-Oct) + up to 6 x 3 MW; Evergy full supply late summer 2026. Evergy (KSHB, Jun-2026): enough power "available today" to fully operate. Base = half of 24 MW. ¦ strips/kcairworld_mo_strip.png; imagery/kcairworld_mo/detail/kcairworld_mo_2025-10-20_crop.png; imagery/kcairworld_mo/detail/kcairworld_mo_2026-10-02_crop.png | peers/sites/sites.xlsx Sites; site_verification.md
Oracle (OCI) | Port Washington WI (Vantage "Lighthouse"; Stargate) | IT MW (~902 MW IT of 1.3 GW electrical) | ~1.3 GW electrical / ~902 MW IT, 4 buildings, 672 ac, $15B (Ozaukee Press 2025-10-22) | 902 | Leased to Oracle for OpenAI (Stargate); handover from end-2027 | 0 | 0 | 0 | 0 | 0 | 0 | Yellow/Red (end-2027 handover vs grid timeline) | High that active = 0 | No grid power: ATC Ozaukee County interconnection (new Decker substation) construction Dec-2026..Dec-2027; PSC completeness revoked Aug-2026, refiled 2026-09-14/15; Aterio: partial power earliest Oct-2027, base Dec-2027. ¦ strips/portwash_wi_strip.png; imagery/portwash_wi/detail/portwash_wi_2025-10-04_crop.png; imagery/portwash_wi/detail/portwash_wi_2026-09-11_crop.png | peers/sites/sites.xlsx Sites; site_verification.md
Announced numeric = IT MW where available (Denton 262 IT; Childress AI 4x50 + 60 = 260 IT; Kvandal 230 grid; Abilene ~843 IT of 1.2 GW; Lambda KC 24; Port Washington ~902 IT), read from the text column - Derived.
B. Nebius sites (capacity/nebius_capacity.xlsx + capacity/site_verification.md)
Company | Site | MW basis | Announced MW (text) | Announced MW (numeric, for chart) | Contracted MW | Active low | Active base | Active high | YE26 low | YE26 base | YE26 high | Grade | Confidence | Evidence / key images | Source
Nebius | Vineland NJ (DataOne) | Contracted 300 = gross (Estimated); energized rows = IT MW (altdata power-bounded) | up to 300 MW (Mar 2025); option for 'hundreds of MW' more (Q3'25) | 300 | 300 | 57 | 66 | 75 | 57 | 81.8 | 106.6 | Yellow/Red | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | ~107 MW IT ceiling on rented gensets through YE26; Bloom-powered remainder 1H-2H 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Independence MO (Eastgate) | unknown (likely gross/utility) | up to 1.2 GW (originally reported 800 MW) | 1200 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Phase 1 ~Q3 2027; 600 MW not before 2029 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Butler Twp PA (Highridge) | unknown (PPL ESA = utility/gross) | n/d | 1200 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | Red | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | First MW Q4 2027 at best; base ~Q2 2028-2029 (PPL lines late-27 to early-29; 3-yr build) | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Birmingham AL (BHM01, Oxmoor) | unknown (300 MW is press figure, not Nebius) | ~300 MW (press-reported; not in Nebius filings) | 300 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | 115 kV NLT Dec 31 2026; first revenue MW 2027; 230 kV Oct 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Bethune FR (Azur Datacenter, ex-Bridgestone) | unknown | 240 MW | 240 | 240 | 0 | 0 | 0 | 0 | 30 | 60 | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Start Q4 2026 (~27 MW initial); 120 MW ~1H27; prefect ICPE decision pending | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Lappeenranta FI (Pajarila / Polarnode) | unknown | up to 310 MW | 310 | 310 | 0 | 0 | 0 | 0 | 0 | 0 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | First building H1 2027 (Fira); substation spring 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Mantsala FI #1 | unknown; PUE ~1.1 (company) | 75 MW after tripling (Nebius PR Oct 8 2024) | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | 75 MW built (completed early 2026) | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Mantsala FI #2 (Kapuli) | unknown (70 MW substation) | 75 MW after tripling (Nebius PR Oct 8 2024) | 70 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Q4 2027 earliest (substation completes autumn 2027) | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Kansas City MO (Patmos) | unknown | Expandable to 40 MW (~35,000 GPUs) | 40 | 40 | 5 | 20 | 35 | 5 | 20 | 35 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Operational; Nebius share of 35 MW facility not disclosed | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Paris (Equinix PA10) | unknown; MW not disclosed (5 = 3rd-party) | not disclosed | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Operational | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Keflavik IS (Verne) | unknown | 10 MW (no expansion disclosed) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Operational (private region) | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | London Longcross (Ark LP01) | unknown (GPU/MW fit suggests gross) | Phase 2 +3,000 B300 (7,000 total). Jun 2026: Nebius leases entire existing facility; Ark building new 36 MW LP02 (Nebius share not disclosed) | 19 | 19 | 16 | 16 | 16 | 16 | 17.5 | 19 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | 19 MW by ~Q4 2026; LP02 share/timing not disclosed | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Harlow UK (Kao Data KLON-02/03) | unknown | 22 MW | 22 | 22 | 0 | 0 | 0 | 0 | 2.2 | 4.4 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | KLON-03 completion end-2026; MW early 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | UK 3rd new deployment (unnamed) | unknown | Residual of 65 MW UK total (65 − 22 Harlow − Longcross expansion share) — not disclosed | not disclosed | not disclosed | n/d | n/d | n/d | n/d | n/d | n/d | Red | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | No evidence found | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Modi'in IL (Mega Or) | IT (4,000 B200 / 8 MW = 500/MW fits IT model) | Mega Or said Nebius may double to 8,000 GPUs subject to demand (not Nebius-confirmed) | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Operational | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Masmiyya IL (Mega DC) | unknown | 22 MW (site could reach 64 MW; Nebius share n/d) | 22 | 22 | 0 | 0 | 0 | 0 | 11 | 22 | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Delivery not confirmed as of Oct 4 2026; Q4 2026-Q1 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Beit Shemesh IL (Mega DC) | unknown | 58 MW (site could reach ~222 MW; Nebius share n/d) | 58 | 58 | 0 | 0 | 0 | 0 | 19.5 | 39 | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Staged Q4 2026 - Q3 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Madrid-Getafe ES (Merlin Edged) | unknown | 18 MW | 18 | 18 | 6 | 7.5 | 9 | 9 | 13.5 | 18 | Green | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Phase 1 live; 18 MW by Q4 2026-Q1 2027 | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Tallinn EE (Greenergy Huuru) | unknown | 22 MW (facility total 31.5 MW) | 22 | 22 | 0 | 0 | 0 | 0 | 11 | 22 | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Q4 2026-Q2 2027; Estonian govt security review discussed at Cabinet (Aug 2026) | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Minnesota colo (us-north1, Woodbury) | unknown | not disclosed | not disclosed | not disclosed | n/d | n/d | n/d | n/d | n/d | n/d | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Region live in docs (B300); MW not disclosed -> in plug | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | Oklahoma colo (unnamed) | unknown | not disclosed | not disclosed | not disclosed | n/d | n/d | n/d | n/d | n/d | n/d | Red | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | No region in docs; no landlord/MW -> in plug | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | France 2nd colo (unnamed; possibly eu-west2) | unknown | not disclosed | not disclosed | not disclosed | n/d | n/d | n/d | n/d | n/d | n/d | Yellow | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | eu-west2 (France, B300) live in docs - mapping is inference; MW n/d -> in plug | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
Nebius | AIB CLT1 (South Carolina) | IT (50 MW critical IT on 65 MW utility ESA) | 50 MW critical IT (65 MW utility ESA) | 50 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | Red | see site_verification.md (MW tags in nebius_capacity Tags_Sources) | Hall 1 ~Q3-Q4 2027; permits only submitted; project financing not arranged | capacity/nebius_capacity.xlsx Sites + Quarterly MW (Q3'26/Q4'26)
| Nebius identified-site total (formula) |  |  |  | 3969 | 182 | 207.5 | 233 | 185 | 304.5 | 424 |  |  |  | Capacity check: Q3'26 identified 182/207.5/233; YE26 185/304.5/424 (site_verification.md). Company base incl. plug 207.5 (Q3'26); mgmt guide 800 MW-1 GW CONNECTED YE26.
Nebius 'Announced MW' column = site_list.xlsx 'Announced MW - full build-out' text; numeric column = contracted MW (capacity Sites tab), basis mostly gross/unknown.
Nebius active = Capacity & Power 'Energized MW' low/base/high for Q3'26 (current, as of Oct-4 evidence); YE26 = Q4'26. Peers active = evidence-supported energized and in service as of 2026-10-04.
Read-across: only CoreWeave Denton and Crusoe Abilene show hundreds of MW evidenced-active on grid; Nebius's largest site (Vineland) is Yellow/Red on unpermitted gensets; Nscale Kvandal and Oracle Port Washington are 0 active - like most new Nebius sites.

## Chart_Data
Chart data (live formulas to Comparison / Contracts_$MWyr / Sites). Blank = n/d. PNG versions: peers/charts/*.png (peers/build_charts.py).
Revenue per active MW ($M/MW-yr) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K01 Revenue per active MW - period-end repor | 13.2925 | 6.8667 | 7.0515 |  | 3.4716 | 9.7021 | 2
K02 Revenue per active MW - average MW (2024 | 13.3504 | 8.24 | 10.4768
Realized $/GPU-hr vs list | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K07 Implied blended realized price ($/GPU-hr | 28.7279 | 14.5066 | 14.694 |  | 11.248 | 18.24
K08 Fleet-weighted on-demand list price ($/G | 3.2885 | 1.6606 | 1.6637 |  | 1.2947 | 2.0879
Capex / PP&E per MW ($M/MW) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K13 Trailing-4Q cash capex per trailing-4Q n | 19.6807 | 18.704
K14 Net PP&E per active MW (EoP) | 87.0453 | 19.9666 |  | 46.3858
K15 Gross in-service PP&E per active MW (EoP | 75.4058 | 31.1573 |  |  | 70.7099 |  | 12.5
Cost of debt (%) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K28 Weighted effective cost of debt (princip | 3 | 3 |  | 0
K36 Implied cash cost: contractual interest |  | 38.3759 | 5.3597 | 0 | 35.0801
Customer concentration (%) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K24 Largest customer % of revenue | 16.3031 | 10.068 | 18.0813 | 8.3142 | 200.569
K26 Top-N >=10% customers combined % | 21 | 26
RPO / annualized revenue (years) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K23 RPO / annualized quarterly revenue | 36 | 41 | 43.1 | 29 | 16
Depreciation yield (%) and useful life (yrs) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
K17 Depreciation yield (D&A x4 / avg in-serv | 5 | 6 | 5 | 6 | 5.5
K16 Useful life - technology equipment (GPUs | 36.4919 | 27.136 |  |  | 20.8259
Active vs contracted MW (latest; mixed IT/gross) | Nebius | CoreWeave | IREN | Oracle OCI | Nscale | Lambda | Crusoe
Active / energized MW | 173 | 1500 | 40 | 1200 | 81 | 47 | 1000
Contracted MW | 3500 | 3700 | 260 | 10000 | 1370 |  | 6000
Basis/tags: Nebius 173 E (Capacity) / >3.5 GW R; CRWV 1,500 / 3,700 R; IREN 40 AI MW R / 260 D (Microsoft 200 IT + NVIDIA ~60); Oracle 1,200 = cumulative AI MW delivered since Jun-25 (E, May-26) / '>10 GW secured' (call, R lower bound); Nscale 81 D / 1,370 R IT; Lambda 47 P / n/d (memo: Anthropic ~350 MW P); Crusoe 1,000 / 6,000 R GROSS.
Contracts: $M per MW-yr (IT MW where available, else stated MW) | $M/MW-yr
N1 Nebius - Microsoft | 17.0798
N2 Nebius - Meta #1 | 11.5228
P1 IREN - Microsoft | 9.7
NEW1 IREN - NVIDIA | 11.3333
P2 Nscale - Microsoft (all SOWs) | 13.3512
P2a Nscale (Aker JV) - Microsoft - Narvik | 11.7085
O1 Nscale - Anthropic | 16.1594
NEW2 Lambda - Anthropic | 16.6667
O2 Oracle - OpenAI (Stargate) | 16
NEW16 Cerebras - OpenAI | 4.4444
REF TeraWulf - Fluidstack (Google backstop) | 1.85
F1 Cipher Mining - AWS | 1.2222
F2 Cipher Mining - Fluidstack (Google backs | 1.7857
F3 Hut 8 - Fluidstack (Anthropic; Google ba | 1.9048
F4 Applied Digital - CoreWeave (Polaris For | 1.8333
F5 Galaxy - CoreWeave (Helios) | 1.9011
F6 Hut 8 - NVIDIA (Beacon Point; for Lambda | 1.8561
Sites: evidenced-active (base) vs announced/contracted MW | Active low | Active base | Active high | Announced / contracted | YE26 base
CoreWeave: Denton TX | 250 | 260 | 262 | 262 | 262
IREN: Childress TX | 50 | 75 | 100 | 260 | 150
Nscale: Kvandal | 0 | 0 | 0 | 230 | 0
Crusoe: Abilene TX | 200 | 421 | 421 | 843 | 632
Lambda: Kansas City MO | 0 | 12 | 24 | 24 | 24
Oracle: Port Washington WI | 0 | 0 | 0 | 902 | 0
Nebius: Vineland NJ | 57 | 66 | 75 | 300 | 81.8
Nebius: Independence MO | 0 | 0 | 0 | 1200 | 0
Nebius: Bethune FR | 0 | 0 | 0 | 240 | 30
Nebius: Mantsala FI #1 | 75 | 75 | 75 | 75 | 75
Nebius: Kansas City MO | 5 | 20 | 35 | 40 | 20
Nebius: London Longcross | 16 | 16 | 16 | 19 | 17.5

## Charts
Native Excel charts (linked to Chart_Data). PNG versions with notes: /workspace/nebius/peers/charts/.

## Peer_memos
Peer-specific memo KPIs (M-rows; not template-standard) - full quarterly history
IREN
ID | Memo KPI | Unit | Q4'23* | Q1'24 | Q2'24 | Q3'24 | Q4'24 | Q1'25 | Q2'25 | Q3'25 | Q4'25 | Q1'26 | Q2'26
M01 | AI Cloud share of total revenue | % | n/d | 1.051 | 4.4685 | 6.0439 | 2.2911 | 2.4727 | 3.7177 | 3.0575 | 9.3659 | 23.2294 | 51.3864
M02 | Bitcoin mining revenue per mining MW (annualized) | $M/MW-yr | n/d | n/d | 0.83846 | 0.64205 | 1.0481 | 0.97017 | 0.98496 | 1.1544 | n/d | n/d | n/d
M03 | AI MW share of operating data-center MW | % | n/d | 0.44018 | 0.44018 | 0.31791 | 0.52141 | 0.40291 | 0.32899 | 0.36362 | n/d | n/d | 9.5238
M04 | Installed hashrate | EH/s | n/d | 10 | 10 | 21 | 31 | 37 | 50 | 50 | 46 | 38 | 23.2
M05 | Net PP&E per total operating DC MW (company-wide) | $M/MW | n/d | 1.3734 | 1.6976 | 2.6833 | 2.3713 | 2.3865 | 2.3834 | 2.6116 | 3.9142 | n/d | 16.079
M06 | Owned GPU hardware (gross) per AI MW | $M/MW | n/d | 25.8663 | 29.1098 | 29.427 | 25.6432 | 26.1005 | 28.5204 | 36.0055 | n/d | n/d | 50.8703
M07 | Revenue per GPU on period-end est. GPUs ($K/GPU-yr) - Q2'26 bridge | $K/GPU-yr | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | 13.1069
M08 | Company Adj. EBITDA margin | % | n/d | 40.4078 | 21.4796 | 4.7381 | 53.8986 | 57.5185 | 65.0852 | 38.1614 | 40.7706 | 41.0926 | 13.9916
M09 | Secured grid power / operating DC MW | x | n/d | 8.3077 | 8.8846 | 6.4167 | 4.5294 | 4.4091 | 3.5926 | 3.7037 | 5.5556 | n/d | 11.9048
Oracle OCI
ID | Memo KPI | Unit | Q4'23* | Q1'24 | Q2'24 | Q3'24 | Q4'24 | Q1'25 | Q2'25 | Q3'25 | Q4'25 | Q1'26 | Q2'26 | Q3'26†
M01 | OCI share of total revenue | % | n/d | 13.4029 | 13.7916 | 16.187 | 17.3128 | 18.7686 | 18.8329 | 22.424 | 25.4017 | 28.4351 | 30.1658 | 38.1907
M02 | OCI revenue growth YoY | % | n/d | n/d | n/d | n/d | n/d | 48.9971 | 51.9996 | 55.3853 | 67.5842 | 84.3137 | 93.222 | 120.735
M03 | Company capex / total revenue | % | n/d | 12.6054 | 19.5842 | 17.3067 | 28.2381 | 41.4862 | 57.0961 | 56.961 | 74.9346 | 108.4061 | 85.9727 | 147.3197
M04 | GPUs per delivered MW (FQ1 FY27) | GPUs/MW | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | n/d | 352.9412
M05 | Annual depreciation yield (trailing-4Q depreciation / avg in-service gross PP&E, FY) | % | n/d | n/d | n/d | n/d | n/d | n/d | 10.7078 | n/d | n/d | n/d | 12.1268 | n/d
M06 | Trailing-4Q OCI-attributed capex per $ of incremental annualized OCI revenue | x | n/d | n/d | n/d | n/d | n/d | 4.2808 | 5.1764 | 5.7448 | 5.3916 | 5.3947 | 4.9842 | 4.6808
M07 | Cumulative AI MW delivered since Jun-25 | MW | n/d | n/d | n/d | n/d | n/d | n/d | n/d | 110 | 510 | 910 | 1200 | 2050
M08 | Not-yet-commenced DC lease commitments | $B | n/d | n/d | n/d | n/d | n/d | 48.4 | 43.4 | 99.8 | 248 | 261 | 260 | 288
M09 | RPO increase QoQ | $B | n/d | 14.7 | 17.7 | 1.2 | -1.8 | 32.9 | 7.6 | 317.5 | 68 | 29.3 | 85.4 | 26